## Campus MASTER PLAN
UPDATED: 11/07/2025
Overall Melville Campus Master Plan
|  |  | Units | Subtotal DGSF + MER | GSF | Notes
PHASE 1 | [6 empty] | UNIONDALE | DELTA
HOSPITAL - Phase 1 |  |  |  | 0 | 1751415 |  | 2300000 | -548585
| Licensed Beds |  | 568
| ORs (2 w/ Fixed Imaging) |  | 23
| Procedure Rooms + Imaging & Dialysis |  | 22
| ED Bays + Imaging |  | 73
CUP (Central Utility Plant) |  |  |  |  | 100000 |  | 180000 | -80000
|  | HOSPITAL SUBTOTAL |  |  | 1851415 |  | 2480000 | -628585
PARKING - HOSPITAL Phase 1 |  |  | 2498 |  | 874300 | GSF Assume 350SF/Space | 1200000 | -325700
|  | P1 PARKING SUBTOTAL | 2498 |  | 874300 |  | 1200000 | -325700
PHASE 2
ACADEMIC |  |  |  |  | 45000 |  | 120000 | -75000
Teaching Spaces
Staff/Admin
ACADEMIC RESEARCH |  |  |  |  | 45000 |  | 80000 | -35000
Dry Lab
Office
CORPORATE OFFICE |  |  |  |  | 70000 |  | 70000 | 0
MCIT Offices
RED+F Offices
Human Resource Offices
Finance + Billing Offices
Other Support Offices
RESIDENTIAL |  |  | 240 |  | 200000 | 11/20/2025 Beau Everett Comments | 200000 | 0
| Staff Housing |  |  |  |  | 24 Students / Class = +/-80
| Student Housing |  |  |  |  | Post Opp + Faculty = 0
House Staff = 0 (change in NYU Operation)
MEDICAL OFFICE BUILDING (MOB) |  |  |  |  | 125000 |  | 25000 | 100000
Physician Offices
Practice Space
|  | PHASE 2 SUBTOTAL |  |  | 485000 |  | 495000 | -10000
PARKING - ACADEMIC |  |  | 131 |  | 45850 | GSF Assume 350SF/Space | 32000 | 13850
PARKING - CORPORATE OFFICE |  |  | 137 |  | 47950 | GSF Assume 350SF/Space | 61800 | -13850
PARKING - RESIDENTIAL |  |  | 295 |  | 103250 | GSF Assume 350SF/Space | 85000 | 18250
PARKING - MOB |  |  | 448 |  | 156800 | GSF Assume 350SF/Space | 27600 | 129200
|  | P2 PARKING SUBTOTAL | 1011 |  | 353850 |  | 206400 | 147450
PHASE 3
HOSPITAL - Expansion |  |  |  |  | 310000 |  | 345000 | -35000
| Licensed Beds |  | 100
| ORs + Procedure |  | 8 to 12
| ED Bays |  | 20
AMBULATORY SURGERY |  |  |  |  | 100000 |  | 25000 | 75000
AMBULATORY CARE |  |  |  |  | 75000 |  | 100000 | -25000
Physician Office
Practice Space
|  | PHASE 3 SUBTOTAL |  |  | 485000 |  | 470000 | 15000
PARKING - HOSPITAL Expansion |  |  | 427 |  | 149450 | GSF Assume 350SF/Space | 160000 | -10550
PARKING - AMBULATORY SURGERY |  |  | 358 |  | 125300 | GSF Assume 350SF/Space | 110400 | 14900
PARKING - AMBULATORY CARE |  |  | 269 |  | 94150 | GSF Assume 350SF/Space | 27600 | 66550
|  | P3 PARKING SUBTOTAL | 1054 |  | 853900 |  | 298000 | 555900
|  | CAMPUS BUILDING TOTAL |  |  | 2821415 |  | 3445000 | -623585
|  | CAMPUS PARKING TOTAL |  |  | 2082050 |  | 1704400 | 377650
[5 empty] | PARKING values based on VHB Parking Planning 2025-09-29 |  | UNIONDALE values based on 2024-05-20 Concept Report

## Hospital Program TARGET_DESIGN
COLOR |  | DEPARTMENT | DIVISION | ROOM NAME |  |  |  | KEY UNIT |  |  |  |  | Factor_DGSF | DGSF+ |  | Factor_DGSF | FGSF+ | [6 empty] | DESIGN
Notes from NYU Strategy July 2025
|  |  | #UPDATED: 11/07/2025 - EC UPDATE REQ'D - Central Sterile |  |  | MELVILLE |  | Key Room DGSF Program |  |  | Room-by-Room Program | [12 empty] | CONCEPT |  | TARGET | UNIONDALE - 724 Beds |  | UNIONDALE - 854 Beds |  |  |  | UNIONDALE
|  |  | DO NOT CHANGE LOCATION OF ROWS A, C-D, K, P-Q, U-V, AL |  |  | 2025-09-09 Steering |  | MELVILLE - 574 Beds |  |  | For Reference Only | [12 empty] | DESIGN |  | DELTA | Reference ONLY |  | Reference ONLY
[6 empty] | Current State KPU Demand | 10 Yr KPU Demand | Key Rooms | Target DGSF/Room | DGSF | DGSF/Room | DGSF | Target DGSF Planning DGSF x 1.1 Factor |  |  | Target FGSF Planning DGSF x 1.25/1.3 Factor |  |  | Program GSF Planning DGSF x 1.5 Factor |  |  | % DGSF | DGSF Nearest (1,000) | DGSF | LEVEL | DGSF |  | DELTA | 05-20-2024 Concept Plan DGSF | DELTA |  |  | Key Rooms | Target DGSF/Room | DGSF
| A | EMERGENCY CARE SERVICES | [7 empty] | 73100 |  | 72638 | 1.1 | 80410 |  | 1.25 | 91375 |  | 1.5 | 109650 |  | 6.261% | 73000 | 73100 |  | -7310 | 90400 | -17300 | 107128 | -34028 |  |  |  |  | 90400
| 01 |  | Emergency Care Services (ED) |  |  | 54 | 73 | 73 | 869.863 | 63500 | 864.6986 | 63123 |  | 69850 |  |  | 79375 |  |  | 95250 |  |  |  | 63500 |  |  | 80000 |  | 96568 | [5 empty] | 80000
|  |  |  | Treatment positions |  | 54 | 73 | 73 | 865 | 63145 |  |  |  | 69459.5 |  |  | 78931.25 |  |  | 94717.5 |  |  | 63000 | 59500 | L1 | -9959.5 | [6 empty] | 100 | 800 | 80000
|  |  |  | ED Imaging |  | 8 | 8 | 8 | incl | [14 empty] | 4000 | L1 | 4000 | [6 empty] | 8 | incl
|  |  | Observation |  |  | 16 | 16 | 16 | 600 | 9600 | 594.6875 | 9515 |  | 10560 |  |  | 12000 |  |  | 14400 |  |  |  | 9600 |  |  | 10400 |  | 10560 |  |  |  | 16 |  | 10400
| 10d |  |  | Patient Units_Observation |  | 16 | 16 | 16 | 600 | 9600 |  |  |  | 10560 |  |  | 12000 |  |  | 14400 |  |  | 10000 | 9600 | L1 | -960 | [6 empty] | 16 | 650 | 10400
| B | DIAGNOSTIC AND TREATMENT | [7 empty] | 300700 |  | 304382 | 1.1 | 330770 |  | 1.25 | 375875 |  | 1.5 | 451050 |  | 25.75% | 301000 | 447200 |  | 116430 | 310650 | -9950 | 355300 | -54600 |  |  |  |  | 1173950
| 02a |  | Surgery & Procedures |  |  | 20 | 23 | 23 | 4417.3913 | 101600 | 4592.087 | 105618 |  | 111760 |  |  | 127000 |  |  | 152400 |  |  | 102000 | 101600 |  |  | 114200 |  | 160907 |  |  |  | #REF! |  | 768300
|  |  |  | General ORs |  | 20 | 23 | 15 | 4200 | 63000 |  |  |  | 69300 |  |  | 78750 |  |  | 94500 |  |  |  | 63000 | L4 | -6300 | [6 empty] | 18 | 4200 | 75600
|  |  |  | Hybrid/Interoperative OR + MRI |  |  |  | 2 | 5200 | 10400 |  |  |  | 11440 |  |  | 13000 |  |  | 15600 |  |  |  | 10400 | L4 | -1040 | [6 empty] | 2 | 5200 | 10400
|  |  |  | Other ORs with fixed Imaging |  |  |  | 6 | 4700 | 28200 |  |  |  | 31020 |  |  | 35250 |  |  | 42300 |  |  |  | 28200 | L4 | -2820 |  |  |  |  | Providing "bigger box" for future needs |  | 6 | 4700 | 28200
| 03a |  | Imaging & Other Diagnostic Services |  |  | 30 | 48 | 16 | 1850 | 29600 | 1927.5 | 30840 |  | 32560 |  |  | 37000 |  |  | 44400 |  |  | 30000 | 178200 |  |  | 29850 |  | 27005 |  |  |  | 230 |  | 327050
|  |  |  | CT |  | 2 | 3 | 3 | 1850 | 5550 |  |  |  | 6105 |  |  | 6937.5 |  |  | 8325 |  |  |  | 5550 | L3 | -555 | [6 empty] | 3 | 1750 | 5250
|  |  |  | MRI |  | 2 | 2 | 2 | 1850 | 3700 |  |  |  | 4070 |  |  | 4625 |  |  | 5550 |  |  |  | 3700 | L3 | -370 | [6 empty] | 2 | 1750 | 3500
|  |  |  | PET |  | 1 | 1 | 1 | 1850 | 1850 |  |  |  | 2035 |  |  | 2312.5 |  |  | 2775 |  |  |  | 1850 | L3 | -185 | [6 empty] | 1 | 1750 | 1750
|  |  |  | Nuclear Medicine |  | 2 | 3 | 3 | 1850 | 5550 |  |  |  | 6105 |  |  | 6937.5 |  |  | 8325 |  |  |  | 5550 | L3 | -555 | [6 empty] | 3 | 1500 | 4500
|  |  |  | Ultrasound |  | 3 | 4 | 4 | 1850 | 7400 |  |  |  | 8140 |  |  | 9250 |  |  | 11100 |  |  |  | 7400 | L3 | -740 | [6 empty] | 4 | 1750 | 7000
|  |  |  | XR/Fluoroscopic Room |  | 2 | 3 | 3 | 1850 | 5550 |  |  |  | 6105 |  |  | 6937.5 |  |  | 8325 |  |  |  | 5550 | L3 | -555 | [6 empty] | 3 | 1750 | 5250
| 03b ¦ 06 |  | Procedure - Interventional Radiology ¦ Cardiovascular |  |  | 9 | 16 | 16 | 4725 | 75600 | 5073 | 81168 |  | 83160 |  |  | 94500 |  |  | 113400 |  |  | 76000 | 73000 |  |  | 73000 |  | 50101 |  |  |  | 191 |  | 224200
|  |  |  | Cath/EP (4 ea) |  | 6 | 8 | 8 | 4700 | 37600 |  |  |  | 41360 |  |  | 47000 |  |  | 56400 |  |  |  | 37600 | L3 | -3760 | [6 empty] | 8 | 4700 | 37600
|  |  |  | Interventional Radiology |  | 2 | 6 | 6 | 4700 | 28200 |  |  |  | 31020 |  |  | 35250 |  |  | 42300 |  |  |  | 28200 | L3 | -2820 | [6 empty] | 6 | 4700 | 28200
|  |  |  | Minor Procedure Room (IR) |  | 1 | 1 | 1 | 3600 | 3600 |  |  |  | 3960 |  |  | 4500 |  |  | 5400 |  |  |  | 3600 | L3 | -360
|  |  |  | Minor Procedure Room (EP) |  |  | 1 | 1 | 3600 | 3600 |  |  |  | 3960 |  |  | 4500 |  |  | 5400 |  |  |  | 3600 | L3 | -360 | [6 empty] | 2 | 3600 | 7200
|  |  |  | Non-Invasive Cardiology |  |  |  | 7 |  | 2600 |  |  |  | 2860 |  |  | 3250 |  |  | 3900 |  |  |  | 2600 | L3 | -260 | [6 empty] | 7 |  | 2600
| 02b |  | Procedure - Endo |  |  | 5 | 6 | 6 | 2300 | 13800 | 2358.5 | 14151 |  | 15180 |  |  | 17250 |  |  | 20700 |  |  | 14000 | 13800 |  |  | 15000 |  | 19215 |  |  |  | 93 |  | 86800
|  |  |  | Bronch/Endo |  | 5 | 6 | 6 | 2300 | 13800 |  |  |  | 15180 |  |  | 17250 |  |  | 20700 |  |  |  | 13800 | L4 | -1380 | [6 empty] | 5 | 3000 | 15000
| 10c |  | Post Procedural Care Unit |  |  | 0 | 0 | 36 | 650 | 23400 | 506.5833 | 18237 |  | 25740 |  |  | 29250 |  |  | 35100 |  |  | 23000 | 23400 |  |  | 23400 |  | 22739 |  |  |  | 36 |  | 23400
|  |  |  | Post Procedural Observation (PPCU) |  |  |  | 36 | 650 | 23400 |  |  |  | 25740 |  |  | 29250 |  |  | 35100 |  |  |  | 23400 | L3 | -2340 | [6 empty] | 36 | 650 | 23400
| 07a |  | Labor & Delivery |  |  | 31 | 30 | 16 | 2468.75 | 39500 | 2268 | 36288 |  | 43450 |  |  | 49375 |  |  | 59250 |  |  | 40000 | 40000 |  |  | 40000 |  | 53435 | [5 empty] | 40000
|  |  |  | Labor and Delivery |  | 16 | 16 | 16 | 1950 | 31200 |  |  |  | 34320 |  |  | 39000 |  |  | 46800 |  |  |  | 31200 | L7 | -3120 | [6 empty] | 16 | 1950
|  |  |  | C-Section |  | 4 | 4 | 4 | incl | 3900 |  |  |  | 4290 |  |  | 4875 |  |  | 5850 |  |  |  | 4400 | L7 | 110 | [6 empty] | 5 | incl
|  |  |  | Triage |  | 11 | 10 | 10 | incl | 4400 |  |  |  | 4840 |  |  | 5500 |  |  | 6600 |  |  |  | 4400 | L7 | -440
| 15 |  | Dialysis |  |  | 6 | 10 | 10 | 520 | 5200 | 520 | 5200 |  | 5720 |  |  | 6500 |  |  | 7800 |  |  | 5000 | 5200 |  |  | 5200 |  | 7010 |  |  |  | 10 |  | 5200
|  |  |  | Dialysis (8 Chairs + 2 ISO Rooms) |  | 6 | 10 | 10 | 520 | 5200 |  |  |  | 5720 |  |  | 6500 |  |  | 7800 |  |  |  | 5200 | L3 | -520 | [6 empty] | 10 | 520 | 5200
| 05 |  | Radiation Oncology |  |  | 0 | 0 | 2 | 6000 | 12000 | 6440 | 12880 |  | 13200 |  |  | 15000 |  |  | 18000 |  |  | 12000 | 12000 |  |  | 10000 |  | 14888 |  |  |  | 1 |  | 10000
|  |  |  | Radiation Oncology |  |  |  | 2 | 6000 | 12000 |  |  |  | 13200 |  |  | 15000 |  |  | 18000 |  |  |  | 12000 | B1 | -1200 |  |  |  |  | 1 LINAC, 1 Nuclear Camera, 1 CT Sim |  |  |  | 10000
[8 empty] | 574 | Target | [17 empty] | 724 Beds | (150) Beds | 854 Beds | (280) Beds |  |  | 724
| C | INPATIENT CARE UNIT |  |  |  | 454 | 574 | 568 | 930 | 528240 | 924.9173 | 525353 | 1.1 | 581064 |  | 1.3 | 686712 |  | 1.5 | 792360 |  | 45.24% | 528000 | #REF! |  | #REF! | 760200 | -231960 | 789685 | -261445 |  |  | 714 |  | 749700
|  |  | Licensed Beds - Med/Surg & ICU |  |  | 454 | 474 | 468 | 930 | 435240 | 924.5342 | 432682 |  | 478764 |  |  | 565812 |  |  | 652860 |  |  |  | 440820 |  |  | 632100 |  | 681103 |  | Medicine: 293 ¦ Surgery: 181 |  | 714 |  | 749700
| 10a |  |  | Patient Units_Universal Med Surg |  | 454 | 293 | 468 | 930 | 435240 |  |  |  | 478764 |  |  | 565812 |  |  | 652860 |  |  |  | 218550 | L5 - L11 | -260214 | 632100 |  | 681103 |  |  |  | 518 | 1050 | 543900
| 10a |  |  | Patient Units_Med Surg |  | 0 | 181 | 0 | 930 | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  | 133920 | L8 - L11 | 133920
| 10b |  |  | Patient Units_ICU (assume 20%) |  | 0 | 0 | 0 | 930 | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  | 88350 | L3 - L4 | 88350 | [6 empty] | 84 | 1050 | 88200
| 10e |  |  | Patient Units_Acute Rehab |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  | 0 |  | 0
|  |  | Licensed Beds - Mother/Baby + Peds |  |  |  | 100 | 100 | 930 | 93000 | 926.71 | 92671 |  | 102300 |  |  | 120900 |  |  | 139500 |  |  |  | #REF! |  |  | 128100 |  | 108582
|  |  |  | Pediatrics |  | 20 | 20 | 20 | 930 | 18600 |  | 19990 |  | 20460 |  |  | 24180 |  |  | 27900 |  |  |  | 18600 | L7 | -1860 | 21000 |  | 22560 |  |  |  | 20 | 1050 | 21000
| 07b |  |  | Ante partum / Post Partum |  | N/A | 42 | 42 | 930 | 39060 |  | 37094 |  | 42966 |  |  | 50778 |  |  | 58590 |  |  |  | 39060 | L6 ¦ L7 | -3906 | 56700 |  | 45304 |  |  |  | 54 | 1050 | 56700
| 07c |  |  | NICU (Neonatal ICU) |  | 42 | 38 | 30 | 930 | 27900 |  | 35587 |  | 30690 |  |  | 36270 |  |  | 41850 |  |  |  | 27900 | L6 | -2790 | 31500 |  | 18066 |  | 8/11/25: Potential NICU/PICU increase (+3) to 41-Beds |  | 30 | 1050 | 31500
|  |  |  | PICU (Pediatric ICU) |  |  |  | 8 | 930 | 7440 |  | with NICU |  | 8184 |  |  | 9672 |  |  | 11160 |  |  |  | 7440 | L6 | -744 | 8400 |  | 22652 |  |  |  | 8 | 1050 | 8400
10500
|  |  | Unlicensed Beds - Observation | [8 empty] | 0
| 10d |  |  | Patient Units_Observation |  |  |  | 16 | [15 empty] | 0
(Refer to A - EMERGENCY DEPARTMENT above)
[13 empty] | 1023 | DGSF+ / Bed |  | 1209 | FGSF / Bed |  | 1395 | GSF / Bed
|  |  | SUB-TOTAL CLINICAL PROGRAM AREA (Target DGSF) | [6 empty] | 902040 |  | 902373 |  | #REF! | DGSF+ |  | #REF! | FGSF |  | #REF! | GSF | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  |  | #REF!
[13 empty] | 91.8077 | DGSF+ / Bed |  | 108.5 | FGSF / Bed |  | 125.1923 | GSF / Bed
[8 empty] | Key Room DGSF Program |  |  | Room-by-Room Program | [15 empty] | Uniondale - 854 Beds | DELTA | Uniondale - 854 Beds | DELTA |  |  | UNIONDALE
For Reference Only
[8 empty] | Key Rooms | DGSF/Bed | DGSF | DGSF/Bed | DGSF | Target DGSF Planning DGSF x 1.1 Factor |  |  | Target FGSF Planning DGSF x 1.3 Factor |  |  | Program GSF Planning DGSF x 1.55 Factor |  |  | % DGSF | Area Rounding (1,000) | DGSF |  |  | 05-20-2024 Concept Plan DGSF |  | 05-20-2024 Concept Plan DGSF |  |  |  | Key Rooms | Target DGSF/Room | DGSF
| D | CLINICAL SUPPORT | [6 empty] | 161.7077 | 91850 | 160.1092 | 90942 | 1.1 | 101035 |  | 1.25 | 114812.5 |  | 1.5 | 137775 |  | 7.866% | 92000 | 91850 |  | -9185 | 92118 | -268 | 87426 | 4424 |  |  |  |  | 95064
|  |  | Laboratory Services | [5 empty] | 79.1373 | 44950 | 78.9366 | 44836 |  | 49445 |  |  | 56187.5 |  |  | 67425 |  |  | 45000
| 11 |  |  | Clinical Labs & Lab Support |  |  |  |  | 57.4913 | 33000 | 68.169 | 38720 |  | 36300 |  |  | 41250 |  |  | 49500 |  |  |  | 24500 | L2 | -11800 | 42354 |  | 33235 |  |  |  |  | 59.7928 | 43290
| 11 |  |  | Lab Admin & Pathologist Offices |  |  |  |  | 10.0174 | 5750 | 0 | included above |  | 6325 |  |  | 7187.5 |  |  | 8625 |  |  |  | 14250 | L2 | 7925 | Incl'd above |  | Incl'd above |  |  |  |  | 0 | 0
| 11.2 |  |  | Transfusion Services |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0
| 11.3 |  |  | Morgue |  |  |  |  | 3.169 | 1800 | 3.0986 | 1760 |  | 1980 |  |  | 2250 |  |  | 2700 |  |  |  | 1800 | L1 | -180 |  |  | 3688 |  |  |  |  | 2.0442 | 1480
| 11.4 |  |  | Blood Bank |  |  |  |  | 7.7465 | 4400 | 7.669 | 4356 |  | 4840 |  |  | 5500 |  |  | 6600 |  |  |  | 4400 | L2 | -440
|  |  | Clinical Support | [5 empty] | 82.5704 | 46900 | 81.1725 | 46106 |  | 51590 |  |  | 58625 |  |  | 70350 |  |  | 47000
| 12a |  |  | Main Pharmacy |  |  |  |  | 19.3662 | 11000 | 19.2606 | 10940 |  | 12100 |  |  | 13750 |  |  | 16500 |  |  |  | 11000 | L2 | -1100 | 11005 |  | 13971 |  |  |  |  | 15.5359 | 11248
| 13 |  |  | Respiratory Therapy |  |  |  |  | 4.4014 | 2500 | 4.3609 | 2477 |  | 2750 |  |  | 3125 |  |  | 3750 |  |  |  | 2500 | L2 | -250 | 1882 |  | 2452 |  |  |  |  | 2.6575 | 1924
| 14 |  |  | Central Sterile |  |  |  |  | 43.1338 | 24500 | 42.6637 | 24233 |  | 26950 |  |  | 30625 |  |  | 36750 |  |  |  | 24500 | L2 | -2450 | 25800 |  | 25225 |  |  |  |  | 35.6354 | 25800
| D7 |  |  | Clinical Engineering |  |  |  |  | 8.8028 | 5000 | 7.9877 | 4537 |  | 5500 |  |  | 6250 |  |  | 7500 |  |  |  | 5000 | L2 | -500 | 7240 |  | 6105 |  |  |  |  | 10.221 | 7400
| 12b |  |  | Retail Pharmacy |  |  |  |  | 6.8662 | 3900 | 6.8996 | 3919 |  | 4290 |  |  | 4875 |  |  | 5850 |  |  |  | 3900 | L1 | -390 | 3837 |  | 2750 |  |  |  |  | 5.4171 | 3922
| E | PUBLIC SUPPORT | [6 empty] | 85.5986 | 48620 | 91.5563 | 52004 | 1.1 | 53482 |  | 1.25 | 60775 |  | 1.5 | 72930 |  | 4.164% | 49000 | 48620 |  | -4862 | 44900 | 3720 | 41386 | 7234 |  |  |  |  | 46900
|  |  | Lobby | [5 empty] | 41.3732 | 23500 | 41.3292 | 23475 |  | 25850 |  |  | 29375 |  |  | 35250 |  |  | 24000
| E1 |  |  | Main Lobby |  |  |  |  | 26.4085 | 15000 | 26.4173 | 15005 |  | 16500 |  |  | 18750 |  |  | 22500 |  |  |  | 15000 | L1 | -1500 | 15000 |  | 11303 |  |  |  |  | 20.7182 | 15000
| E2 |  |  | Mother/Baby Lobby |  |  |  |  | 8.8028 | 5000 | 8.8028 | 5000 |  | 5500 |  |  | 6250 |  |  | 7500 |  |  |  | 5000 | L1 | -500 | 5000 |  | 5050 |  |  |  |  | 6.9061 | 5000
| E3 |  |  | Staff Entry |  |  |  |  | 6.162 | 3500 | 6.1092 | 3470 |  | 3850 |  |  | 4375 |  |  | 5250 |  |  |  | 3500 | L1 | -350 | 0 |  | 0 |  |  |  |  | 2.7624 | 2000
|  |  | Public Resources | [5 empty] | 10.6338 | 6040 | 10.6356 | 6041 |  | 6644 |  |  | 7550 |  |  | 9060 |  |  | 6000
| E4 |  |  | Patient and Family Resources |  |  |  |  | 3.9789 | 2260 | 3.9806 | 2261 |  | 2486 |  |  | 2825 |  |  | 3390 |  |  |  | 2260 | L1 | -226 | 2300 |  | 2186 |  |  |  |  | 3.1768 | 2300
| E5 |  |  | Meditation |  |  |  |  | 1.8134 | 1030 | 1.8134 | 1030 |  | 1133 |  |  | 1287.5 |  |  | 1545 |  |  |  | 1030 | L1 | -103 | 1200 |  | 1101 |  |  |  |  | 1.6575 | 1200
| E6 |  |  | Public Education |  |  |  |  | 4.8415 | 2750 | 4.8415 | 2750 |  | 3025 |  |  | 3437.5 |  |  | 4125 |  |  |  | 2750 | L1 | -275 | 2800 |  | 2807 |  |  |  |  | 3.8674 | 2800
|  |  | Café & Retail | [5 empty] | 33.5915 | 19080 | 39.5915 | 22488 |  | 20988 |  |  | 23850 |  |  | 28620 |  |  | 19000
| E7 |  |  | Gift Shop |  |  |  |  | 1.3732 | 780 | 1.3732 | 780 |  | 858 |  |  | 975 |  |  | 1170 |  |  |  | 780 | L1 | -78 | 1800 |  | 3992 |  |  |  |  | 2.4862 | 1800
| E9 |  |  | Cafeteria |  |  |  |  | 29.9296 | 17000 | 35.9789 | 20436 |  | 18700 |  |  | 21250 |  |  | 25500 |  |  |  | 17000 | L1 | -1700 | 15000 |  | 14947 |  |  |  |  | 20.7182 | 15000
| E10 |  |  | Lobby Café |  |  |  |  | 2.2887 | 1300 | 2.2394 | 1272 |  | 1430 |  |  | 1625 |  |  | 1950 |  |  |  | 1300 | L1 | -130 | 1800 |  | incl'd in E7 |  |  |  |  | 2.4862 | 1800
| E12 |  |  | Micro Market |  |  |  |  | 0 | 0 | 0 | 0
| F | ADMINISTRATION & STAFF SUPPORT | [6 empty] | 71.5669 | 40650 | 71.0493 | 40356 | 1.1 | 44715 |  | 1.25 | 50812.5 |  | 1.5 | 60975 |  | 3.481% | 41000 | 82650 |  | 37935 | 78700 | -38050 | 82602 | -41952 |  |  |  |  | 78700
|  |  | Hospital Operations and Admin | [5 empty] | 20.2465 | 11500 | 20.0475 | 11387 |  | 12650 |  |  | 14375 |  |  | 17250 |  |  | 12000 | 69800 |  |  | 65300 |  | 68021 | [5 empty] | 65300
| F1 |  |  | Hospital Operations |  |  |  |  | 8.8028 | 5000 | 8.6866 | 4934 |  | 5500 |  |  | 6250 |  |  | 7500 |  |  |  | 5000 | L2 | -500 | 5000 |  | 6143 |  |  |  |  | 6.9061 | 5000
| F2 |  |  | Nursing Administration |  |  |  |  | 6.162 | 3500 | 6.1444 | 3490 |  | 3850 |  |  | 4375 |  |  | 5250 |  |  |  | 3500 | L2 | -350 | 3500 |  | 3534 |  |  |  |  | 4.8343 | 3500
| F8 |  |  | Visitor Services Offices |  |  |  |  | 5.2817 | 3000 | 5.2165 | 2963 |  | 3300 |  |  | 3750 |  |  | 4500 |  |  |  | 3000 | L1 | -300 | 3000 |  | 2232 |  |  |  |  | 4.1436 | 3000
|  |  | Clinician Offices | [5 empty] | 22.6232 | 12850 | 23.2694 | 13217 |  | 14135 |  |  | 16062.5 |  |  | 19275 |  |  | 13000 | 12850 |  |  | 13400 |  | 14581 | [5 empty] | 13400
| F4 |  |  | Residents and Fellows (Graduate Medical Education Hub) |  |  |  |  | 3.5211 | 2000 | 3.5299 | 2005 |  | 2200 |  |  | 2500 |  |  | 3000 |  |  |  | 2000 | L2 | -200 | 2000 |  | 2065 |  |  |  |  | 2.7624 | 2000
| F3 |  |  | Extended Clinical Team (Managers only) |  |  |  |  | 10.1232 | 5750 | 10.838 | 6156 |  | 6325 |  |  | 7187.5 |  |  | 8625 |  |  |  | 5750 | L2 | -575 | 6200 |  | 6227 |  |  |  |  | 8.5635 | 6200
| F6 |  |  | Anesthesiology Offices |  |  |  |  | 4.9296 | 2800 | 4.9683 | 2822 |  | 3080 |  |  | 3500 |  |  | 4200 |  |  |  | 2800 | L2 | -280 | 2700 |  | 6289 |  |  |  |  | 3.7293 | 2700
| F7 |  |  | TBD |  |  |  |  | 4.0493 | 2300 | 3.9331 | 2234 |  | 2530 |  |  | 2875 |  |  | 3450 |  |  |  | 2300 | L2 | -230 | 2500 | [6 empty] | 3.453 | 2500
|  |  |  | Emergency Medicine | Programmed as part of Emergency Department |  |  |  | 0 | 0
|  |  | Meeting & Training | [5 empty] | 28.6972 | 16300 | 27.7324 | 15752 |  | 0 |  |  | 0 |  |  | 0 |  |  | 16000 | 16300 |  |  | 13500 |  | 13475 | [5 empty] | 13500
| F9 |  |  | Conference |  |  |  |  | 17.6056 | 10000 | 16.6743 | 9471 |  | 11000 |  |  | 12500 |  |  | 15000 |  |  |  | 10000 | L2 | -1000 | 8000 |  | 7354 |  |  |  |  | 11.0497 | 8000
| F10 |  |  | Training and Simulation |  |  |  |  | 5.8099 | 3300 | 5.713 | 3245 |  | 3630 |  |  | 4125 |  |  | 4950 |  |  |  | 3300 | L2 | -330 | 2500 |  | 3134 |  |  |  |  | 3.453 | 2500
| F11 |  |  | Faculty and Staff Resouces (confirm if this includes oncall?) |  |  |  |  | 5.2817 | 3000 | 5.3451 | 3036 |  | 3300 |  |  | 3750 |  |  | 4500 |  |  |  | 3000 | L2 | -300 | 3000 |  | 2987 |  |  |  |  | 4.1436 | 3000
| G | BUILDING SUPPORT | [6 empty] | 148.6796 | 84450 | 194.0352 | 110212 | 1.1 | 92895 |  | 1.25 | 105562.5 |  | 1.5 | 126675 |  | 7.233% | 84000 | 73950 |  | -18945 | 92672 | -8222 | 110934 | -26484 |  |  |  |  | 92672
|  |  | Receiving / Clean Dock | [5 empty] | 24.6479 | 14000 | 29.1813 | 16575 |  | 15400 |  |  | 17500 |  |  | 21000 |  |  | 14000
| G1.1 |  |  | Clean Dock + Receiving |  |  |  |  | 8.8028 | 5000 | 9.4947 | 5393 |  | 5500 |  |  | 6250 |  |  | 7500 |  |  |  | 4000 | L1 | -1500
| G1 |  |  | Supply Chain (Supply Sto & Dist, Staff/Admin, Mail Room) |  |  |  |  | 15.8451 | 9000 | 19.6866 | 11182 |  | 9900 |  |  | 11250 |  |  | 13500 |  |  |  | 8000 | L1 | -1900 | 17955 |  | 22635 |  |  |  |  | 24.8 | 17955.2
6 Truck positions and exterior stairs/ramps not included (assume 1,800 SF)
| G2 |  | Waste Management / Soiled Dock | [5 empty] | 7.9225 | 4500 | 8.4754 | 4814
|  |  |  | Soiled Dock |  |  |  |  | 3.5211 | 2000 | 3.8574 | 2191
|  |  |  | Waste Management |  |  |  |  | 4.4014 | 2500 | 4.618 | 2623
4 Truck/compactor positions and exterior stairs/ramps not included (assume 1,200 SF)
|  |  | Support Services | [5 empty] | 76.4965 | 43450 | 114.9877 | 65313 |  | 0 |  |  | 0 |  |  | 0 |  |  | 43000
| G3 |  |  | EVS |  |  |  |  | 12.7641 | 7250 | 12.5511 | 7129 |  | 7975 |  |  | 9062.5 |  |  | 10875 |  |  |  | 7250 | B1 | -725 | 5792 |  | 6361 |  |  |  |  | 8 | 5792
| G4 |  |  | Linen Services |  |  |  |  | 7.9225 | 4500 | 12.9542 | 7358 |  | 4950 |  |  | 5625 |  |  | 6750 |  |  |  | 4500 | L1 | -450 | 5792 |  | 4517 |  |  |  |  | 8 | 5792
| G5 |  |  | Medical Gas Cylinder Storage |  |  |  |  | 1.4085 | 800 | 0 | w/ Supply Chain |  | 880 |  |  | 1000 |  |  | 1200 |  |  |  | 800 | L1 | -80
| G8 |  |  | Hospitality Offices, Lockers and Break Rooms |  |  |  |  | 12.6761 | 7200 | 14.8099 | 8412 |  | 7920 |  |  | 9000 |  |  | 10800 |  |  |  | 7200 | L2 | -720 | 5937 |  | 7410 |  |  |  |  | 8.2 | 5936.8
| G9 |  |  | Dietary Kitchen |  |  |  |  | 31.6901 | 18000 | 35.831 | 20352 |  | 19800 |  |  | 22500 |  |  | 27000 |  |  |  | 18000 | B1 | -1800 | 21792 |  | 25835 |  |  |  |  | 30.1 | 21792.4
| G5 |  |  | Patient Transport |  |  |  |  | 1.2324 | 700 | 1.0986 | 624 |  | 770 |  |  | 875 |  |  | 1050 |  |  |  | 700 | B1 | -70 | 5502 |  | 7380 |  |  |  |  | 7.6 | 5502.4
| G6 |  |  | Patient Care Equipment |  |  |  |  | 5.2817 | 3000 | 2.5246 | 1434 |  | 3300 |  |  | 3750 |  |  | 4500 |  |  |  | 3000 | B1 | -300 | 8471 |  | 10432 |  |  |  |  | 11.7 | 8470.8
|  |  |  | Ambulance Services | [5 empty] | with ED |  | with ED
|  |  |  | P Tube (addressed as Mechanical) |  |  |  |  | 0 | 0 | 0 | 0
| G7 |  |  | Material Automation (AGV/AMR) | (per floor staging not inc'l) |  |  |  | 3.5211 | 2000 | 35.2183 | 20004 |  | 2200 |  |  | 2500 |  |  | 3000 |  |  |  | 2000 | B1 | -200
0
|  |  | Building Support | [5 empty] | 39.6127 | 22500 | 41.3908 | 23510 |  | 24750 |  |  | 28125 |  |  | 33750 |  |  | 23000
| G10 |  |  | Engineering & Shops |  |  |  |  | 26.4085 | 15000 | 28.2465 | 16044 |  | 16500 |  |  | 18750 |  |  | 22500 |  |  |  | 15000 | B1 | -1500 | 14408 |  | 16733 |  |  |  |  | 19.9 | 14407.6
| G11 |  |  | Security & Emergency Preparedness |  |  |  |  | 4.4014 | 2500 | 4.3415 | 2466 |  | 2750 |  |  | 3125 |  |  | 3750 |  |  |  | 2500 | B1 | -250 | 3620 |  | 4972 |  |  |  |  | 5 | 3620
| G13 |  |  | MCIT Storage and Support |  |  |  |  | 6.162 | 3500 | 6.162 | 3500 |  | 3850 |  |  | 4375 |  |  | 5250 |  |  |  | 3500 | B1 | -350 | 3403 |  | 4659 |  |  |  |  | 4.7 | 3402.8
| G14 |  |  | Buildings & Grounds | (vehicle parking not inc'l) |  |  |  | 2.6408 | 1500 | 2.6408 | 1500 |  | 1650 |  |  | 1875 |  |  | 2250 |  |  |  | 1500 | L1 | -150
| H | UNASSIGNED AREA | [7 empty] | 0 |  |  | 1.1 | 0 |  | 1.25 | 0 |  | 1.5 | 0 |  | 0% | 0 | 0 |  | 0 | 0 | 0 | 18513 | -18513
| J | BUILDING SUPPORT (Non Departmental) | [11 empty] | 0 | [7 empty] | 0% |  | 0 |  | -350283
Building Support (Non Departmental)
|  |  |  | Public Circulation | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  |  | BOH Circulation | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  |  | Public Elevator | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  |  | Service Elevator | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  |  | Patient Transport Elevator | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  |  | Egress Stair | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  |  | IT Closet | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  |  | Electrical Room | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  |  | Shaftway | [9 empty] | 0 | [9 empty] | 0 |  | 0
|  |  | SUB-TOTAL CLINICAL PROGRAM AREA (Target DGSF) | [6 empty] | 265570 |  | 293514
[8 empty] | Key Room DGSF Program |  |  | Room-by-Room Program | [15 empty] | UNIONDALE - 854 Beds | DELTA | UNIONDALE - 854 Beds | DELTA |  |  | UNIONDALE
[11 empty] | For Reference Only | [15 empty] | 2024-05-20 |  | 2024-05-20
|  |  | TOTAL HOSPITAL DEPARTMENTAL PROGRAM AREA (Target DGSF) |  |  |  |  | DGSF x | 1 | 1167610 |  | 1195887 |  | 1284371 | DGSF+ |  | 1485924.5 | FGSF |  | 1751415 | GSF | 100% | 1168000 | #REF! |  | #REF! | 1469640 | -302030 | 1592974 | -425364 |  |  |  |  | 2327386
|  |  | Floor Grossing Factor (enclosure, VT, Stairs, IT/Elec, Non-Depart Circulation) |  |  |  |  | DGSF x | 0.3 | 350283 |  | 358766.1 | [11 empty] | 350283 |  | 0 | 358186 | -7903 | 314316 | 35967 |  |  | DGSF x | 0.25 | 581846.5
|  |  | Major MERs |  |  |  |  | DGSF x | 0.2 | 233522 |  | 239177.4 | [11 empty] | 233522 |  | 0
|  |  | Planning Contingency |  |  |  |  | DGSF x | 0 | 0 |  | 0
[9 empty] | 1.5 | 1751415 |  | 1793830.5
[23 empty] | 1168000 | #REF! |  | #REF!
[27 empty] | 1827826 | -1827826 | 1907290 | -1907290 | Uniondale REF |  |  |  | 2909232.5
|  |  | TOTAL HOSPITAL GROSS FLOOR AREA (GSF) - Per Program |  |  |  |  | DGSF x | 1.5 | 1751415 |  | 1793830.5 |  | 1284371 |  |  | 1485924.5 |  |  | 1751415 | GSF |  | 1752000 |  |  | -1751415 | 2193391.2 | -441976.2 | 2491291.9787 | -739876.9787 | 1.3062 | DGSF x | DGSF x | 1.5 | 3491079
|  |  | TOTAL HOSPITAL GROSS FLOOR AREA (GSF) - Per Concept Design | [6 empty] | N/A | [12 empty] | N/A |  |  |  | N/A |  | N/A |  | 1.2
|  |  | GSF / Licensed Bed |  |  |  |  | 568 | Beds (lic.) | 3083.4771 |  | 3158.1523 | [10 empty] | 3084.507 | 0 |  | -3083.4771 | 3029.5459 | 53.9313 | 2917.2037 | 166.2734 | 854 | Beds (lic.) | 724 | Beds (lic.) | 4821.9323
|  |  | % Gross Major MERs (Excluding CUP) | [6 empty] | 13.33% | [20 empty] | 724
|  |  | TOTAL CUP GROSS FLOOR AREA (GSF) | [6 empty] | 100000
|  |  | TOTAL Hospital + CUP GROSS FLOOR AREA (GSF) | [6 empty] | 1851415
|  |  | % Gross Major MERs (Including CUP) | [6 empty] | 18.01% | [20 empty] | 724

## OR & Procedure - Chunks
Extrapoloated from Uniondale Room-by-Room Program from Ewing Cole 2024-05
OR & Procedure Program Groups | Uniondale Key Rooms | NSF | % | Current Key Rooms | DGSF | % | DGSF x1.1 | HQ Program "Chunks" | DGSF | Planhing DGSF |  |  | Planning DGSF x1.1
[10 empty] | L2 | L3 | L4 | L2 | L3 | L4
Surgery / ORs |  | 74149 | 100% |  | 101600 | 100% | 111760 | Surgery / ORs | 56443.2265 |  |  | 56443.2265 |  |  | 62087.5491
Patient Intake Area |  | 2990 | 4.032% |  | 4096.9399 | 4.032% |  | Intake | see below
Operating Rooms | 27 | 25385 | 34.24% | 23 | 34782.8831 | 34.24% |  | Ors & OR Support | 56443.2265
Pre/Post (3 per OR) | 82 | 20120 | 27.13% |  | 27568.7063 | 27.13% |  | Pre/Post | see below
OR Support (with/adjacent to ORs) |  | 14348 | 19.35% |  | 19659.8309 | 19.35% |  | Staff Support | see below
OR Satellite Lab and Pharmacy |  | 1460 | 1.969% |  | 2000.5125 | 1.969%
OR Staff Support |  | 9846 | 13.28% |  | 13491.1273 | 13.28%
Imaging |  | 21490 | 100% |  | 29600 | 100% | 32560 | Imaging | 28029.7813 |  | 28029.7813 |  |  | 30832.7594
Patient Intake Area |  | 1140 | 5.305% |  | 1570.2187 | 5.305% |  | Intake | see below
Imaging |  | 20350 | 94.7% |  | 28029.7813 | 94.7% |  | Imaging | 28029.7813
Procedure: Endoscopy |  | 8810 | 100% |  | 13800 | 100% | 15180 | Endo | 6962.6561 |  |  | 6962.6561 |  |  | 7658.9217
Patient Intake Area |  | 580 | 6.583% |  | 908.5131 | 6.583% |  | Intake | see below
Endo Rooms & Support | 6 | 4445 | 50.45% | 6 | 6962.6561 | 50.45% |  | Endo Rooms & Support | 6962.6561
Endo Pre/Post (3 per OR) | 18 | 3425 | 38.88% |  | 5364.9262 | 38.88% |  | Pre/Post | see below
Endo Staff Suport (can be co-located with OR Staff) |  | 360 | 4.086% |  | 563.9047 | 4.086% |  | Staff Support | see below
Procedure: Cardiovascular |  | 26815 | 100% |  | 43800 | 100% | 83160 | Procedure Platform (IR + Cath/EP) | 42872.0837 |  | 42872.0837 |  |  | 47159.292
Patient Intake Area |  | 1540 | 5.743% |  | 2515.4578 | 5.743% |  | Intake | see below
Cath/EP | 9 | 10805 | 40.29% | 8 | 17649.0397 | 40.29% |  | Cath/EP + IR Rooms & Support | 42872.0837
Pre/Post (3 per OR) | 28 | 8235 | 30.71% |  | 13451.1654 | 30.71% |  | Pre/Post | see below
Noninvasive Cardiology Diagnostics |  | 820 | 3.058% |  | 1339.3996 | 3.058% |  | Staff Support | see below
Procedure Room Support (with/adjacent to PRs) |  | 3325 | 12.4% |  | 5431.102 | 12.4%
Staff Support |  | 2090 | 7.794% |  | 3413.8355 | 7.794% | [9 empty] | x
[8 empty] | Prep/Post | 55684.7979 |  | 22751.1654 | 32933.6325 |  | 25026.2819 | 36226.9957
[8 empty] | OR Pre/Post | 27568.7063
Procedure: Interventional Radiology |  | 31270 | 100% |  | 31800 | 100% | incl. above | Endo Pre/Post | 5364.9262
Patient Intake Area |  | 1665 | 5.325% |  | 1693.2203 | 5.325% |  | Procefure Pre/Post | 22751.1654
Procedure Rooms | 11 | 12760 | 40.81% | 6 | 12976.2712 | 40.81%
Pre/Post (3 per OR) | 30 | 9145 | 29.25% |  | 9300 | 29.25%
IR Support (with/adjacent to IR) |  | 5385 | 17.22% |  | 5476.2712 | 17.22%
Staff Support |  | 2315 | 7.403% |  | 2354.2373 | 7.403%
Dialysis |  |  |  |  | 5200 | 100% | 5720 | Dialysis | 5200 |  | 5200 |  |  | 5720
Rooms/Chairs |  |  |  | 10 | 5200 | 100% |  | 10 Chair Department | 5200
[5 empty] | DGSF |  | DGSF x 1.1 | Staff Support (all ORs/Procedure) | 19823.1048 | 15858.4838 | 1982.3105 | 1982.3105 | 17444.3322 | 2180.5415 | 2180.5415
|  |  |  | L3 | 110400 |  | 121440 | Staff Support Surgery/Ors | 13491.1273
|  |  |  | L4 | 115400 |  | 126940 | Staff Support Endo | 563.9047
[8 empty] | Staff Suport Procedure | 5768.0728
143520
150020
[8 empty] | Intake | 10784.3498 |  | 5778.8968 | 5005.453 |  | 6356.7865 | 5505.9983
[8 empty] | OR Intake | 4096.9399
[8 empty] | Procedure Intake | 4208.6781
[8 empty] | Imaging Intake | 1570.2187
[8 empty] | Endo Intake | 908.5131
SUBTOTAL
TOTAL PROGRAM NSF |  | 162534
x1.6 NSF:DGSF GF |  | 1.6
TOTAL PROGRAM DGSF |  | 260054.4 |  |  | 225800 |  |  | TOTAL PLANNING DGSF | 159330.8523 | 15858.4838 | 106614.2377 | 103327.2785 | 17444.3322 | 117275.6614 | 113660.0064
[8 empty] | x 1.1 DGSF + shafts & elec/tele |  | 17444.3322 | 117275.6614 | 113660.0064
[8 empty] | x 1.3 DGSF:FGF |  | 20616.029 | 138598.5089 | 134325.4621
[8 empty] | Difference between L3 & L4 |  |  |  | 4273.0469
248380

## Hospital Program per Floor
UPDATED: 11/07/2025
Phase 1 Buildings
Hospital | [5 empty] | Inpatient Room DGSF (576 Beds) |  |  |  | Non-Patient Room DGSF
Level | Program | Total GSF Covered | Total GSF Enclosed | MEP | Total FGSF | FGSF | xFGSF (Inpatient) | Subtotal Fitout DGSF (Inpatient) | Inpatient | FGSF | xFGSF (Podium) | Subtotal Fitout DGSF (Podium) | ED | D&T | Admin & Staff Support | Clinical Support | Building Support | Public Support | Unassigned Area
[8 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 Roof | Elev. Bulkhead (trauma + service) | 0 | 12000 | 12000 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 Roof | Mechanical | 0 | 64000 | 64000 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Inpatient Units (72 Beds) | 0 | 88164 | 0 | 88164 | 88164 | 1.3 | 67818.4615 | 67818.4615 | 0 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Inpatient Units (72 Beds) | 0 | 88164 | 0 | 88164 | 88164 | 1.3 | 67818.4615 | 67818.4615 | 0 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Inpatient Units (72 Beds) | 0 | 88163.4 | 0 | 88163.4 | 88163.4 | 1.3 | 67818 | 67818 | 0 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Inpatient Units (72 Beds) | 0 | 88164 | 0 | 88164 | 88164 | 1.3 | 67818.4615 | 67818.4615 | 0 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Inpatient Units (incl PEDS, AP/PP) (72 Beds) | 0 | 88163.4 | 0 | 88163.4 | 88163.4 | 1.3 | 67818 | 67818 | 0 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Inpatient Units (incl NICU, PICU, AP/PP) (108 Beds) + LDR & C-Section | 0 | #REF! | 0 | #REF! | #REF! | 1.3 | #REF! | #REF! | 50000 | 1.25 | 40000 | 0 | 40000 | 0 | 0 | 0 | 0 | 0
6 | Inpatient Units (36 Beds) + Mechanical Mezzanine | 0 | 44082 | 0 | 44082 | 44082 | 1.3 | 33909.2308 | 33909.2308 | 0 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Inpatient Units (ICU) (36 Beds) + Mechanical | 0 | 144082 | 100000 | 44082 | 44082 | 1.3 | 33909.2308 | 33909.2308 | 0 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Inpatient Units (ICU) (36 Beds) + Surgery (OR & Prep/Rec) | 0 | 188332 | 0 | 188332 | 44082 | 1.3 | 33909.2308 | 33909.2308 | 144250 | 1.25 | 115400 | 0 | 115400 | 0 | 0 | 0 | 0 | 0
3 | Procedure Platform (Proc & Prep/Rec), PPCU, Gen Img, Obs, Cafeteria, Admin | 0 | 167250 | 0 | 167250 | 0 | 1.3 | 0 | 0 | 167250 | 1.25 | 133800 | 0 | 133800 | 0 | 0 | 0 | 0 | 0
2 | Clinical Support + Admin | 0 | 163750 | 0 | 163750 | 0 | 1.3 | 0 | 0 | 163750 | 1.25 | 131000 | 0 | 0 | 37650 | 86150 | 7200 | 0 | 0
1 | ED (73 positions), Lobby, Public Support, Site Walkway + Observation | 40000 | #REF! | 0 | #REF! | 0 | 1.3 | 0 | 0 | #REF! | 1.25 | #REF! | 73100 | 0 | 3000 | 5700 | #REF! | 48620 | 31993
B1 | Building Support and Mechanical + Rad Onc | 0 | 97937.5 | 18000 | 79937.5 | 0 | 1.3 | 0 | 0 | 79937.5 | 1.25 | 63950 | 0 | 12000 | 0 | 0 | 51950 | 0 | 0
B2 | Mechanical | 0 | 40738 | 40738 | 0 | 0 | 1.3 | 0 | 0 | 0 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Totals | 40000 | #REF! | 234738 | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | #REF! | 73100 | 301200 | 40650 | 91850 | #REF! | 48620 | 31993
| Grossing Factor DGSF:GSF |  | 1.5
| Distributed GSF |  | #REF! | #REF! |  |  | 1.5 |  | #REF! |  | 1.5 |  | 109650 | 451800 | 60975 | 137775 | #REF! | 72930 | 47989.5
| DGSF Target Check | [6 empty] | DGSF TARGET | 435240 |  |  | DGSF TARGET | 73100 | 300700 | 40650 | 91850 | 84450 | 48620 | 0
[8 empty] | DGSF CHECK | #REF! |  |  | DGSF CHECK | 0 | 500 | 0 | 0 | #REF! | 0 | 31993
| GSF Target Check | [5 empty] | 1.3 | GSF TARGET | 478764 |  | 1.25 | GSF TARGET | 80410 | 330770 | 44715 | 101035 | 92895 | 53482 | 0
[8 empty] | GSF CHECK | #REF! |  |  | GSF CHECK | -29240 | -121030 | -16260 | -36740 | #REF! | -19448 | -47989.5
Central Utility Plant (CUP) |  |  |  | MEP |  | Parking
Level | Program | Total GSF Covered | Total GSF Enclosed | MEP |  | Structured Parking
|  | 0 | 0 | 0 |  | 0
12 Roof | Cooling Towers, AHUs, Power Vent Fans | 0 | 10000 | 10000 |  | 0
12 | Chillers | 0 | 10000 | 10000 |  | 0
1 | Co-Generation, Electrical Services, Heat Ext, Control, Substation, Plant Support, Shop | 0 | 35000 | 35000 |  | 0
B1 | Pumps,Chilled & Hot Water Storage Tanks | 0 | 35000 | 35000 |  | 0
| Totals | 0 | 90000 | 90000 |  | 0
North Garage - Staff Parking |  |  |  | MEP |  | Parking
Level | Program | Total GSF Covered | Total GSF Enclosed Min 20% Open | MEP |  | Structured Parking
8 Roof | Green Roof w/ 30% Open | 53900 | 0 |  |  | 0
7 | Parking / Elev. Bulkhead | 0 | 2500 | 1250 |  | 1250
6 | Parking | 0 | 77000 | 1540 |  | 75460
5 | Parking | 0 | 77000 | 1540 |  | 75460
4 | Parking | 0 | 77000 | 1540 |  | 75460
3 | Parking | 0 | 77000 | 1540 |  | 75460
2 | Parking | 0 | 77000 | 1540 |  | 75460
1 | Parking | 1000 | 77000 | 2310 |  | 74690
B1 | Parking | 0 | 71000 | 2130 |  | 68870
| Totals | 54900 | 535500 | 13390 |  | 522110
South Garage - Visitor Parking |  |  |  | MEP |  | Parking
Level | Program | Total GSF Covered | Total GSF Enclosed Min 20% Open | MEP |  | Structured Parking
8 Roof | Green Roof w/ 30% Open | 35525 | 0 |  |  | 0
7 | Parking / Elev. Bulkhead | 0 | 1750 | 875 |  | 875
6 | Parking | 0 | 50750 | 1522.5 |  | 49227.5
5 | Parking | 0 | 50750 | 1522.5 |  | 49227.5
4 | Parking | 0 | 50750 | 1522.5 |  | 49227.5
3 | Parking | 0 | 50750 | 1522.5 |  | 49227.5
2 | Parking | 0 | 50750 | 1522.5 |  | 49227.5
1 | Parking | 1000 | 50750 | 2537.5 |  | 48212.5
B1 | Parking | 0 | 50750 | 2537.5 |  | 48212.5
| Totals | 36525 | 357000 | 13562.5 |  | 343437.5
Total Phase 1 Summary
|  |  |  | MEP |  | Parking | Hospital Program DGSF |  |  |  | DGSF | [5 empty] | Program DGSF
|  | Total GSF Covered | Total GSF Enclosed | MEP |  | Structured Parking (GSF) | ED | D&T | Inpatient |  | Subtotal Fitout DGSF | Admin & Staff Support | Clinical Support | Building Support | Public Support | Unassigned Area | Corporate Services | Academic & Research | Amb. Care | Staff & Student Housing
| Hospital | 0 | #REF! | 234738 |  | 40738 | #REF! | 301200 | #REF! |  | 0 | 40650 | 91850 | #REF! | #REF! | 31993 | 0 | 0 | 0 | 0
| Central Utility Plant | 0 | 90000 | 90000 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| North Parking | 0 | 535500 | 13390 |  | 522110 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| South Parking | 0 | 357000 | 13562.5 |  | 343437.5 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sub-Total | Phase 1 | 0 | #REF! | 351690.5 |  | 906285.5 | #REF! | 301200 | #REF! |  | 0 | 40650 | 91850 | #REF! | #REF! | 31993 | 0 | 0 | 0 | 0

## Load Assumptions (SEQRA)
NYUL LI - Mellvile HQ Load Assumptions (SEQRA)
UPDATED: 11/07/2025
NYUL LI Melville HQ Campus | Units |  | GSF | Water Metric* |  | Gal/Day | Sewer Metric* |  | Gal/Day | Power Demand |  | kW | Notes
GSF Values are based on Target Design Values
Hospital
Inpatient Beds | 574 | Beds | #REF! | 300 | gal per bed | 172200 | 270 | gal per bed | 154980
Emergency Department & Observation | 73 ¦ 16 | Positions ¦ Beds | 109650 | 0.21 | gal per GSF | 23026.5 | 0.189 | gal per GSF | 20723.85
Diagnostic & Treatment | 23 | ORs | 451800 | 0.21 | gal per GSF | 94878 | 0.189 | gal per GSF | 85390.2
Admin & Support |  |  | #REF! | 0.21 | gal per GSF | #REF! | 0.189 | gal per GSF | #REF!
Phase 1 Hospital Sub-Total |  |  | #REF! |  |  | #REF! |  |  | #REF! | 7 | W per GSF | #REF! | JBB to review/confirm the W per GSF metric assumptions
Central Utility Plant
Central Utility Plant (Cooling Towers - Peak Day [NYU Only]) |  |  |  | - | - | 216368 | - | - | 35454 | - | - | -
Central Utility Plant (Cooling Towers - Avg Summer Day [NYU Only]) |  |  |  | - | - | 179495 | - | - | 29412 | - | - | -
Central Utility Plant (Core and Shell) |  |  | 90000 | - | - | - | - | - | - | 2.5 | W per GSF | 225
Central Utility Plant (Equipment Infrastructure, Connected Load) |  |  |  | - | - | - | - | - | - | - | - | 11500
Central Utility Plant (Equipment Infrastructure, Day One Design Day Load) |  |  |  | - | - | - | - | - | - | - | - | 7750
Central Utility Plant (Equipment Infrastructure, Day One 100% Elec Heat) |  |  |  | - | - | - | - | - | - | - | - | 20250 | Note: This load is shown for reference only and not included in total loads.
Phase 1 CUP |  |  | 90000 |  |  | 216368 |  |  | 35454 |  |  | 7975 | This number is if hot water boilers are electric.
Structured Parking
North Garage - Staff Parking |  |  | 535500 | 0 | - | 0 | 0 | - | 0
South Garage - Visitor Parking |  |  | 357000 | 0 | - | 0 | 0 | - | 0
Phase 1 Structured Parking |  |  | 892500 |  |  | 0 |  |  | 0 | 3.75 | W per GSF | 3346.875 | JBB to review/confirm the W per GSF metric assumptions
Site Development
Irrigation and Site Lighting (excluding building SF) |  |  | 630733 | 0.0031 | gal | 1955.2723 | 0.0028 | gal per GSF | 1766.0524 |  |  |  | AREA CLAC ASSUMPTION: HQ1 Site Area (1,030,733SF)
Phase 1 Site Development |  |  | 630733 |  |  | 1955.2723 |  |  | 1766.0524 | 0.05 | W per GSF | 31.5367 | L1 Building Areas (265,000SF : Hospital + 135,000SF : Parking Garages)
Note: Irrigation value is average gallon per day over full year for Entire Site.
XXXX gal/year (May - September) No irrigation assumed Jan. - April & Oct. - Dec.
Phase 1 Sub-Total |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF!
Phase 1 Sub-Total - Site |  |  | 630733 |  |  | 1955.2723 |  |  | 1766.0524 |  |  | 31.5367
Phase 2 Buildings
Student / Staff Housing | 240 | Units | 200000 | 130 | gal per unit | 31200 | 117 | gal per unit | 28080 | 1.2 | W per GSF | 240
Academic/Research |  |  | 90000 | 0.13 | gal per GSF | 11700 | 0.117 | gal per GSF | 10530 | 5 | W per GSF | 450
Corporate Offices |  |  | 70000 | 0.13 | gal per GSF | 9100 | 0.117 | gal per GSF | 8190 | 2.25 | W per GSF | 157.5
Medical Office Building (MOB) |  |  | 125000 | 0.13 | gal per GSF | 16250 | 0.117 | gal per GSF | 14625 | 1.5 | W per GSF | 187.5
Phase 2 Buildings Sub-Total |  |  | 485000 |  |  | 68250 |  |  | 61425 |  |  | 1035
Central Utility Plant
Central Utility Plant (Cooling Towers - Peak Day) |  |  |  | - | - | 120989 | - | - | 19825 | - | - | -
Central Utility Plant (Cooling Towers - Avg Summer Day) |  |  |  | - | - | 100937 | - | - | 16539 | - | - | -
Central Utility Plant (Core and Shell) |  |  | 10000 | - | - | - | - | - | - | 2.5 | W per GSF | 25
Central Utility Plant (Equipment Infrastructure, Connected Load) |  |  |  | - | - | - | - | - | - | - | - | 4000
Central Utility Plant (Equipment Infrastructure, Day Two Add'l Design Day Load) |  |  |  | - | - | - | - | - | - | - | - | 3000
Central Utility Plant (Equipment Infrastructure, Day Two Add'l 100% Elec Heat) |  |  |  | - | - | - | - | - | - | - | - | 12250 | Note: This load is shown for reference only and not included in total loads.
Phase 2 CUP |  |  | 10000 |  |  | 120989 |  |  | 19825 |  |  | 3025 | This number is if hot water boilers are electric.
Phase 2 Sub-Total |  |  | 485000 |  |  | 68250 |  |  | 61425 |  |  | 1035
Structured Parking
Academic/Research |  |  | 45850 | 0 | - | 0 | 0 | - | 0
Corporate Office |  |  | 47950
Residential |  |  | 103250
Medical Office Building (MOB) |  |  | 156800 | 0 | - | 0 | 0 | - | 0
Phase 2 Structured Parking |  |  | 353850 |  |  | 0 |  |  | 0 | 3.75 | W per GSF | 1326.9375
Site Development
Irrigation and Site Lighting (excluding building SF) |  |  | 535295 | 0.0031 | gal | 1659.4145 | 0.0028 | gal per GSF | 1498.826 |  |  |  | AREA CLAC ASSUMPTION: (HQ2 Site Area (935,295SF)
Phase 2 Site Development |  |  | 535295 |  |  | 1659.4145 |  |  | 1498.826 | 0.05 | W per GSF | 26.7647 | L1 Building Areas (250,000SF : Buildings + 150,000SF : Parking Garages)
Phase 2 Sub-Total |  |  | 1374145 |  |  | 69909.4145 |  |  | 62923.826 |  |  | 5413.7023
Phase 1 Sub-Total - Site |  |  | 535295 |  |  | 1659.4145 |  |  | 1498.826 |  |  | 26.7647
Total Conceptual Masterplan (10-15 years) - Phase 1 + 2 |  |  | #REF! | Water Gal/Day |  | #REF! | Sewer Gal/Day |  | #REF! | Power Demand |  | #REF!
Hospital Expansion
Inpatient Beds | 100 | beds | 148800 | 300 | gal per bed | 30000 | 270 | gal per bed | 27000
Emergency Department & Observation - Assume 6% |  |  | 18600 | 0.21 | gal per GSF | 3906 | 0.189 | gal per GSF | 3515.4
Diagnostic & Treatment - Assume 26% |  |  | 80600 | 0.21 | gal per GSF | 16926 | 0.189 | gal per GSF | 15233.4
Admin & Support - Assume 20% |  |  | 62000 | 0.21 | gal per GSF | 13020 | 0.189 | gal per GSF | 11718
Phase 3 Hospital Expansion Sub-Total |  |  | 310000 |  |  | 63852 |  |  | 57466.8 | 7 | W per GSF | 2170
Phase 3 Buildings
Ambulatory Surgery & Ambulatory Care |  |  | 175000 | 0.13 | gal per GSF | 22750 | 0.117 | gal per GSF | 20475
Phase 3 Sub-Total |  |  | 175000 |  |  | 22750 |  |  | 20475 | 2.25 | W per GSF | 393.75
Structured Parking
Hospital Expansion |  |  | 149450 | 0 | - | 0 | 0 | - | 0
Ambulatory Surgery |  |  | 125300
Ambulatory Care |  |  | 94150 | 0 | - | 0 | 0 | - | 0
Phase 2 Structured Parking |  |  | 368900 |  |  | 0 |  |  | 0 | 3.75 | W per GSF | 1383.375
Phase 3 Sub-Total |  |  | 853900 |  |  | 86602 |  |  | 77941.8 |  |  | 3947.125
Total Future Campus (+15 years) - Phase 1 + 2 + 3 |  |  | #REF! | Water Gal/Day |  | #REF! | Sewer Gal/Day |  | #REF! | Power Demand |  | #REF!
FOR INITIAL REFERENCE ONLY - UPDATE REQUIRED
Melville ¦ Uniondale Comparison | [12 empty] | Notes
MELVILLE HQ Phase 1 Sub-Total |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF! | Several cells include data from the Uniondale Project as place holders UPDATE required
MELVILLE HQ Phase 1 Sub-Total SITE |  |  | 630733 |  |  | 1955.2723 |  |  | 1766.0524 |  |  | 31.5367
UNIONDALE Phase 1 Sub-Total |  |  | 3405000 |  |  | 585600 |  |  | 423040 |  |  | 30853
UNIONDALE Phase 1 Sub-Total SITE |  |  | 1400000 |  |  | 4370 |  |  | 3933 |  |  | 70
DELTA |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF!
MELVILLE HQ Phase 2 Sub-Total |  |  | 1374145 |  |  | 69909.4145 |  |  | 62923.826 |  |  | 5413.7023
UNIONDALE Phase 2 Sub-Total |  |  | 1050000 |  |  | 86970 |  |  | 78273 |  |  | 5538
DELTA |  |  | 324145 |  |  | -17060.5855 |  |  | -15349.174 |  |  | -124.2977
MELVILLE HQ Concept Master Plan (Phase 1 + Phase 2) |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF!
UNIONDALE Concept Master Plan (Phase 1 + Phase 2) |  |  | 4455000 |  |  | 672570 |  |  | 505246 |  |  | 36461
DELTA Phase 1 + 2 |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF!
MELVILLE HQ Phase 3 Sub-Total |  |  | 853900 |  |  | 86602 |  |  | 77941.8 |  |  | 3947.125
UNIONDALE Phase 3 Sub-Total |  |  | 1000000 |  |  | 123840 |  |  | 111456 |  |  | 5354
DELTA |  |  | -146100 |  |  | -37238 |  |  | -33514.2 |  |  | -1406.875
MELVILLE HQ Total Future Campus (Phase 1 + Phase 2 + Phase 3) |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF!
UNIONDALE Total Future Campus (Phase 1 + Phase 2 + Phase 3) |  |  | 5455000 |  |  | 796410 |  |  | 616702 |  |  | 41815
DELTA Phase 1 + 2 + 3 |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF!